## Slide 1: Optimisation of paediatric x-ray examinations
Mark Worrall
Radiation Physics, Ninewells Hospital
Scottish Medical Physics Network (MPNET)
Chair of the IPEM paediatric optimisation working party

## Slide 2: Overview
  Assumed knowledge:
    Who are MPNET?
    What is optimisation?
  Where is optimisation undertaken?
  Who undertakes optimisation?
  How do we gauge optimisation?
  Existing sources of comparative data
  What is the current status of paediatric DRLs in the UK?
  The UK national paediatric dose audits
  What other work could the Scottish paediatric SIG look at?
  How can we work together moving forward?

## Slide 3: Where is optimisation undertaken?
  Selection of equipment
    Departments have a mix of equipment; where possible send higher risk cohorts to lower dose equipment
      DDR vs. CR
      Iterative reconstruction CT vs. filtered back projection
      Flat panel detector vs. image intensifier
Patient attends
Pre-patient
  Protocol set-up
    What is the level of image quality required?
      Examination kV
      AEC choice; AEC receptor dose
      CT mA modulation quality indicator
      PPS and dose mode
      Image processing
        Reconstruction, for-display processing

## Slide 4: Where is optimisation undertaken?
      Markers
      Comments
      Additional processing for duplicate images
      Additional views; repeat views
Post-processing
    Are adjustments to the standard protocol required?
      Patient size
      Contrast considerations
      Grid?
      Patient positioning
      CT couch height
      Position relative to detector / AECs
      Collimation
      Equipment angulation
      Patient compliance
      Is the patient comfortable and happy?
      Is the patient calm?
      Carer or comforter?
Examination set-up
Patient protection
Gonad shields
Other PPE as appropriate
      Ensures consistency of performance
      Ensures optimised remains optimised
Equipment testing

## Slide 5: Who undertakes optimisation?
The multi-disciplinary team
Reporting clinician (radiologist)
The operator (radiographer)
Medical Physics Expert
The specialist
e.g. Play specialist
Paediatrician
Surgeon
The manufacturer
A local group

## Slide 6: How do we gauge optimisation?
  We need to know where to concentrate our efforts
    Clinical audit
      Image quality scoring?
      Positioning?
      Consistency?
      Reject statistics? – comparison with others
      Repeat rates? – comparison with others
      Patient dose audit
        Average dose for an examination for a representative population
        Comparison with local DRLs, national DRLs, other sources of data
        Is your site or unit high or low compared with others?

## Slide 7
The multi-disciplinary team
Reporting clinician (radiologist)
The operator (radiographer)
Medical Physics Expert
The specialist
e.g. Play specialist
Paediatrician
Surgeon
The manufacturer
A local group

## Slide 8: Existing sources of comparative data
  National dose audits
    Run by the NRPB / HPA / PHE
    Intended to be repeated every 5 years
    Contingent upon data being voluntarily submitted (though PHE can demand via secretary of state for health)
    Contingent upon good quality data
    PHE resource issues mean these are less frequent
    Other bodies are running their own
      IPEM / Breast Screening Physics QA coordinating group / British Society of Cardiovascular Imaging
      These are adopted as NDRLs where they meet PHE’s criteria

## Slide 9: What is the current status of paediatric DRLs in the UK?
https://www.gov.uk/government/publications/diagnostic-radiology-national-diagnostic-reference-levels-ndrls/ndrl

## Slide 10: Computed Tomography
Examination | Clinical indication | Scan region / technique | CTDvol per sequence (mGy) | DLP per complete examination (mGy cm)
Paediatric head: 0–1 y | Trauma | All sequences | 25 | 350
Paediatric head: >1–5 y | Trauma | All sequences | 40 | 650
Paediatric head: >5 y | Trauma | All sequences | 60 | 860
  Taken from
PHE-CRCE-013: Doses from computed tomography (CT) examinations in the UK (2011 Review).

## Slide 11: Fluoroscopy
Taken from
Examination | Std. Age (yrs) | DAP per exam (Gy cm^2)
Micturating cystourethrography | 0 | 0.1
 | 1 | 0.3
 | 5 | 0.3
 | 10 | 0.4
 | 15 | 0.9
Barium meal | 0 | 0.1
 | 1 | 0.2
 | 5 | 0.2
 | 10 | 0.7
 | 15 | 2.0
Barium swallow | 0 | 0.2
 | 1 | 0.4
 | 5 | 0.5
 | 10 | 1.8
 | 15 | 3.0
HPA-CRCE-034: Doses to patients from radiographic and fluoroscopic X-ray imaging procedures in the UK (2010 review)

## Slide 12: Radiography
  None!
    Paediatric data requested in 2010 national radiographic dose audit
    Paediatric hospitals directly targeted
    Not enough data submitted with patient weight information for national DRL to be proposed

## Slide 13: Why do we need weight information?
  For paediatric examinations, the spread of data is too wide for the meaningful selection of a single national DRL for all patients
  Categorisation by age does not work (except for CT exams of the head)
  Examinations of the body must be categorised by weight (or measured patient size)

## Slide 14: UK national paediatric dose audits are on the way…
  Run by the Institute of Physics and Engineering in Medicine (IPEM)
    In collaboration with Public Health England (PHE)
  CT dose audit launching soon (May probably)
  To run alongside PHE led adult national patient dose audit
  To be followed by fluoroscopy / interventional patient dose audit
  To be followed by radiographic patient dose audit
  The paediatric national dose audits will require weight information for each patient
  The dose audit uses an Excel pro-forma and will be circulated via a well used Medical Physics mailbase
  The dose audits have been approved for CPD accreditation by the SCoR
    We suggest they be completed by radiographers and medical physics colleagues
  The paediatric national dose audits will lead to updated national DRLs!
  The biggest barrier to successful dose audits is the provision of weight information
    Are you in a position to weigh patients, or obtain weight from another clinical system?

## Slide 15: What can the paediatric SIG do to help with optimisation?
  Facilitating the collection of useful comparative data…
  There is little point in undertaking competing Scottish national dose audits
    Let’s all participate in the UK wide one launching soon
    Happy to consider this in the future…
  Facilitate collection and dissemination of useful comparative data
    Reject statistics, repeat rates?
    Average doses for other regularly undertaken examinations that are not included in the UK national dose audits?
    Protocol selections?
  MPNET can help design the studies and analyse the data
  Then local multi-disciplinary teams can use this data to evaluate and improve their own practice

## Slide 16: How can we work together?
  Educational events or materials?
    Technology is advancing all the time – is there a role for MPNET in delivering training on how certain components work?
      e.g. I have recently delivered local training on how iterative reconstruction works to NHS Tayside CT radiographers
      What about flat panel detectors in fluoroscopy?
      What about how fluoroscopy equipment selects kV, mA during an examination?
      What about DR vs. CR technology in radiography? Why is DR lower dose?

## Slide 17: How can we work together?
  Short projects – What would happen if? Does it matter if?
    Have you ever wondered what the effect of changing something on your equipment would be?
      e.g. are you curious to know what would happen to the AEC functionality on a CT scanner if the patient wasn’t centred?
      Are you curious to know whether it matters which mattress you use during a fluoroscopy procedure?
      Are you curious to know whether the anode-heel effect in general radiography is better than a gonad shield?
    Do you have time to investigate? Do you only get to do research as part of an MSc or other qualification?
    Medical physics have a steady stream of trainees who are all required to undertake a research project as part of their training
    Let’s use our resources wisely
  Any other ideas?

## Slide 18: Questions and discussion